## Introduction
Instructions/Notes
1 | This spreadsheet contains the program options for inclusion in AEG's potential study analysis of Demand Response (Class 1) and DSM Rates (Class 3) resources.
These lists are organized by resource class, program category, and program bundle. The mechanism and program is then described, as is the targeted equipment.
The eligible sector and existence of a current offering in a PacifiCorp state/territory is then identified for each program bundle.
2 | The potential of each program is identified within two distinct event-type categories based on the time-scale of their impact
| Sustained Event Potential | represents the impacts that could be realized over a longer event period (> 1 hour). Notification could be day-ahead or day-of.
| Fast Event Potential | represents the impacts that could be achieved over a shorter event period (≤ 1 hour). Notification times are typically 15 minutes or less with a near-instantaneous response.
Sector to Class Segment Map
1 | There are several dimensions by which the programs will be organized in the potential study.
These categories are based on the segments in the 2023 CPA.
| Market Dimension | Segmentation Variable | Segments
| Dimension 1 | State | UT, OR, WY, WA, ID, CA
| Dimension 2 | Sector | Residential, Commercial and Industrial, and Irrigation
| Dimension 3 | Customer Class | Residential: All Customers
C&I (by max peak):
|  |  | Small C&I: | ≤ 30 kW
|  |  | Medium C&I: | > 30 kWh & ≤ 200 kW
|  |  | Large C&I: | > 200 kWh & ≤ 1,000 kW
|  |  | Extra-Large C&I: | ≥ 1,000 kW
Irrigation: All Customers
Source Hierarchy
1 | AEG will use the following source hierarchy to prioritize data used to characterize resources in each state. The characterization logic prioritizes state-specific sources first, then region-specific sources, and then national and other sources.
Class 1/3 Resources
PacifiCorp Program and RFP Data
2021 NWPCC Power Plan 2021 CPUC Potential & Goals Study Evaluated Program Data
Evaluated Data from Other Jurisdictions National Sources

## Program List
Demand Response and DSM Rates Resource List |  |  |  |  | Eligible Sectors |  |  |  | Current Offering | [6 empty] | Type of Event |  | Notes / Changes from 2021 CPA
Resource Class | Program Category | Program Bundle | Mechanism / Program Description | Targeted Equipment1 | Residential | Commercial | Industrial | Irrigation | CA | OR | WA | UT | ID | WY | Notes | Sustained Event2 | Fast Event3 | Updated the category name from "Duration" to "Type of Event" and re-named the categories from "Sustained Duration" to "Sustained Event" and from "Short Duration" to "Fast Event" to align with how these categories were treated in the 2021 CPA and how they will be treated in the 2023 CPA.
Demand Response (Class 1) Resources | Curtailment | Third Party (Fast Event) | Customers enact their customized, mandatory curtailment plan. May use stand-by generation. Penalties apply for non-performance. Customers must have EMS for automated compliance. | Energy Management System (EMS) |  | x | x |  |  |  |  | x |  |  | Under way in UT | x | x | In the 2021 CPA, we used the saturation of EMS to determine eligibility of customers for a fast event curtailment program. We will do the same for the 2023 CPA. Separating "Third Party" by sustained/fast event capabilities
|  | Third Party (Sustained Event) | Customers volunteer a specified amount of capacity during a predefined “economic event” called by the utility in return for a financial incentive. | All |  | x | x |  |  |  |  | x |  |  | Under way in UT | x |  | Separating "Third Party" by sustained/fast event capabilities
| DLC (Conventional) | Electric Vehicle Connected Charger Direct Load Control (DLC) | Automated, level 2 EV chargers that postpone or curtail charging during peak hours. Can potentially be used for energy storage. | All | x | [10 empty] | x | x
|  | HVAC DLC | DLC switch installed on customer’s heating and/or cooling equipment. | Central AC | x | x | x |  |  |  |  | x |  |  | Cool Keeper (UT) | x | x
|  |  |  | Air-Source Heat Pump Geothermal Heat Pump | x | x | x | [8 empty] | x | x
|  |  |  | Room AC | x | [10 empty] | x | x
|  |  |  | RTU |  | x | x | [8 empty] | x | x
|  |  |  | Electric Furnace | x | x | x | [8 empty] | x | x
|  | Irrigation Load Control | (ADR) Automated pump controllers. | ADR |  |  |  | x |  | x |  | x | x |  | Irrigation Load Control (UT and ID, pilot in OR) | x | x
|  |  | DLC switch installed on customer’s equipment. | DLC | [11 empty] | x
|  | Pool Pump DLC | DLC switch installed on customer’s equipment. | Pool Pump | x | x | [9 empty] | x | x
|  | Domestic Hot Water Heater (DHW) DLC | DLC switch installed on customer’s equipment. | Electric Resistance Water Heater | x | x | x | [8 empty] | x | x
|  |  |  | Heat Pump Water Heater | x | x | x | [8 empty] | x | x
| DLC (Smart / Interactive) | DLC of Smart Home | Internet-enabled control of operational cycles of white goods appliances, electronics, and lighting. Controlled by a central smart hub or smart speaker. | Home Energy Management System (HEMS) White Goods Appliances Misc. Connected Equipment | x | [10 empty] | x |  | Updated program bundle name from "Home Energy Management System" to clarify that white goods appliances are included
|  | Grid Interactive Water Heater | CTA-2045 or other integrated communication port. | Electric Resistance | x | x | [9 empty] | x | x
|  |  |  | Heat Pump Water Heater | x | x | [9 empty] | x | x
|  | Connected Thermostats DLC | Internet-enabled control of thermostat set points. | All | x | x | x | [8 empty] | x | x
| Energy Storage | Battery Energy Storage DLC | Internet-enabled control of battery charging and discharging | All | x | x | [5 empty] | x | x |  | Wattsmart Batteries (UT); Pilot in ID | x | x
DSM Rates (Class 3) Resources | Time-Varying Rates | Critical Peak Pricing (CPP) Rate | Much higher rate for a particular block of hours that occurs only on event days. Requires AMI technology. | All | x | x | x | x | [7 empty] | x
|  | Peak Time Rebates (PTR) | Rebates for reduced consumption for a particular block of hours that occurs only on event days. Requires AMI technology. | All | x | [10 empty] | x |  | Not included in 2021 CPA. Added based on OR PUC feedback on 2021 IRP.
|  | Real Time Pricing (RTP) Rate | Variable hourly rates based on real-time utility production costs. Requires AMI technology. | All |  | x | x | [8 empty] | x
|  | Time-of-Use (TOU) Rate | Higher rate for a particular block of hours that occurs every day. Requires either on/off peak meters or AMI technology. | All | x | x | x | x |  | x |  | x | x |  | Optional residential TOU rates in ID, UT, and OR. C&I rates offered on mandatory or voluntary basis depending on state and class. Irrigation TOU offered in CA, OR, and UT. | x
1 AEG plans to model together equipment listed in the same cell and separately model equipment listed in distinct cells.
2 Sustained Event Potential represents the impacts that could be realized over a longer event period (> 1 hour). Notification could be day-ahead or day-of.
3 Short Event Potential represents the impacts that could be achieved over a shorter event period (≤ 1 hour). Notification times are typically 15 minutes or less with a near-instantaneous response.

## Changes from 2021
Program Added/Removed
Program Category | Program Cost Bundle | Eligible Sectors | Type of Change | Eligible Equipment | Reason for Adding | Other Notes/Comments
Time-Varying Rates/Behavioral | Peak Time Rebates (PTR) | Residential | Added | N/A | Feedback from the OR PUC based on the 2021 IRP. | Peter (PAC) confirmed no C&I option.
Time-Varying Rates/Behavioral | TOU Rate for Electric Vehicle Owners | Residential | Removed | N/A | Included under one residential TOU rate.
Program Name Changed and/or Eligibility Re-Classified
Program Category | Program Cost Bundle | Eligible Sectors | Type of Change | Eligible Equipment | Description of Change | Other Notes/Comments
Energy Storage | Battery DLC | Small Commercial | Clarifying Eligibility |  | The 2021 CPA listed "Commercial" as the eligible sector, but it only applied to small commercial participants. Clarifying the eligible sector is not all commercial but small commercial buildings.
DLC (Smart/Interactive) | DLC of Smart Home | Residential | Name Change Clarifying Eligibility | HEMS, white goods appliances, misc. connected equipment | Updated program bundle name from "Home Energy Management System" to clarify that smart appliances are included
Curtailment | Third Party (Short Duration) | Large & Extra-Large C&I | Name Change Clarifying Eligibility | EMS | In the 2021 CPA, we used the saturation of EMS to determine eligibilty of customers for a short duration curtailment program. We will do the same for the 2023 CPA. Separating "Third Party" by sustained/short duration capabilities.
Curtailment | Third Party (Sustained Duration) | C&I | Name Change Clarifying Eligibility | N/A | Separating "Third Party" by sustained/short duration capabilities.
Definition of "Duration" category |  |  | Name Change Clarifying Eligibility |  | Updated the category name from "Duration" to "Type of Event" and re-named the categories from "Sustained Duration" to "Sustained Event" and from "Short Duration" to "Fast Event" to align with how these categories were treated in the 2021 CPA and how they will be treated in the 2023 CPA.

## Presentation (hidden)
Program Category | Program Bundle | Mechanism / Description | Eligible Customer Segments | Current Offering
Direct Load Control (Conventional) | Electric Vehicle Connected Charger Direct Load Control (DLC) | Automated, level 2 EV chargers that postpone or curtail charging during peak hours. Can potentially be used for energy storage. | Residential
| HVAC DLC | DLC switch installed on customer’s heating and/or cooling equipment. | Residential, C&I | UT, CAC Only
| Irrigation Load Control | Automated pump controllers or DLC switch installed on customer’s equipment. | Irrigation | UT, ID, Pilot in OR
| Pool Pump DLC | DLC switch installed on customer’s equipment. | Residential, Commercial
| Domestic Hot Water Heater (DHW) DLC | DLC switch installed on customer’s equipment. | Residential, C&I
Direct Load Control (Smart / Interactive) | DLC of Smart Home | Internet‐enabled control of operational cycles of white goods appliances, electronics, and lighting. Controlled by a central smart hub or smart speaker. | Residential
| Grid Interactive Water Heater | CTA-2045 or other integrated communication port. Can also be used for energy storage. | Residential, Commercial
| Connected Thermostats DLC | Internet-enabled control of thermostat set points. | Residential, C&I
Energy Storage | Battery Energy Storage DLC | Internet-enabled control of battery charging and discharging. | Residential, Commercial | UT